Title

Smart Water Pressure Management for Equitable Water Supply in Solapur Municipal Corporation

One-Line Problem Statement

Design and develop a smart, data-driven water pressure monitoring and management system for Solapur Municipal Corporation (SMC) to ensure equitable, reliable, and efficient water supply across all distribution zones through real-time monitoring, analytics, and automation.

Context

Solapur Municipal Corporation provides drinking water to more than 10 lakh citizens across multiple water distribution zones. Despite continuous infrastructure development and operational efforts, the city continues to face challenges related to uneven water pressure, irregular supply, and significant water losses.

Areas located at higher elevations and tail-end zones frequently experience low water pressure and inadequate supply, leading to citizen dissatisfaction and inequitable access. Additionally, aging pipelines, leakages, unauthorized consumption, and manual valve operations result in high non-revenue water and operational inefficiencies.

The absence of real-time monitoring, automation, and data-driven decision support limits SMC’s ability to respond proactively and plan efficiently, necessitating the adoption of smart water management solutions.

Problem Description

Solapur Municipal Corporation requires an integrated, intelligent water management solution to address the following challenges:

1. Uneven Water Pressure and Distribution

- Low pressure in elevated and tail-end areas.

- Unequal water distribution across zones and wards.

- Irregular and unpredictable water supply schedules.

2. Water Losses and Infrastructure Inefficiencies

- Leakages and bursts in aging pipelines.

- Manual valve and pump operations leading to human error.

- Unauthorized consumption and undetected losses.

3. Lack of Real-Time Visibility and Decision Support

- No real-time data on pressure, flow, and consumption patterns.

- Delayed detection of faults and pressure drops.

- Limited analytical tools for demand forecasting and planning.

Hackathon Challenge

Participants are required to design a Smart, Scalable, and Real-Time Water Pressure Management System with the following components:

SMC Operations Interface

- Real-time monitoring of water pressure and flow using IoT sensors, flow meters, or software-based analytics.

- GIS-based visualization of the water distribution network and pressure zones.

- Automated alerts for pressure anomalies, leakages, or bursts.

- Decision-support dashboards for engineers and water supply officials.

System Intelligence & Optimization

- Predictive analytics to forecast pressure drops, peak demand, and potential leakage points.

- Optimization of valve and pump operations using scheduling algorithms or automated control mechanisms.

- Zone-wise pressure balancing to ensure fair and equitable water distribution, especially in high-altitude and rapidly developing areas.

Advanced / Value-Added Features (Optional)

- Integration with SCADA or existing SMC water infrastructure.

- Citizen-facing mobile or web interface for transparency and awareness.

- Analytics for non-revenue water reduction and long-term infrastructure planning.

Expected Outcomes

The proposed solution should:

- Ensure equitable and reliable water supply across all zones of Solapur city.

- Reduce water losses and improve operational efficiency.

- Enable proactive monitoring, faster fault detection, and informed decision-making.

- Support sustainable and data-driven urban water governance.

- Align with SMC’s vision of Smart, Efficient, and Inclusive Urban Infrastructure.